## Slide 1: Introduction to ONT sequencing
TB ONT workshop – NIMR August 2022
@LinzyElton @PandoraIDNet @AmrCovid
Dr Linzy Elton
Postdoctoral research associate
Centre for Clinical Microbiology
linzy.elton@ucl.ac.uk

## Slide 2
We will record these sessions and put them online so you can refer back to them later on
We will also put the slides up online so you can access the notes (links and image credits)
TB ONT workshop – NIMR August 2022

## Slide 3
What is sequencing?
Uses and Sanger sequencing
Next generation sequencing
Oxford Nanopore Technologies
TB ONT workshop – NIMR August 2022

## Slide 4
What is sequencing?
Sequencing determines the order of the four bases (A, T, G and C) that make up DNA
The first DNA sequences were obtained in the early 1970s
Requires both laboratory and bioinformatics skills!
TB ONT workshop – NIMR August 2022
Notes: https://en.wikipedia.org/wiki/DNA_sequencing

## Slide 5
There are many uses for sequencing
TB ONT workshop – NIMR August 2022
Identifying species in a sample (e.g. sputum or waste water)
Identifying differences in genes (e.g. genetic diseases)
Seeing how closely related a group of organisms are (phylogenetic trees, evolution)
Look at whether bacteria is resistant to antibiotics
Forensics (e.g. DNA profiling, paternity testing etc.)
Notes: Image credits:
https://www.thermofisher.com/blog/biobanking/within-subject-biological-sample-pooling-improves-accuracy-of-temporally-affected-biomarkers/
https://www.sciencedirect.com/topics/biochemistry-genetics-and-molecular-biology/phylogenetic-tree
https://www.singerinstruments.com/resource/what-are-genetic-mutation/
https://ib.bioninja.com.au/standard-level/topic-3-genetics/35-genetic-modification-and/dna-profiling.html
https://www.who.int/indonesia/health-topics/antimicrobial-resistance

## Slide 6
The Human Genome Project
Began October 1990 and completed April 2003
Researchers aimed to decipher the human genome in three major ways:
    Determining the sequence of all the bases in the human genome
    Mapping the locations of genes for major sections of our chromosomes
    Producing linkage maps, so inherited traits (e.g. for genetic disease) can be tracked over generations
The sequence is derived from the DNA of several volunteers
Cost $2.7 billion!
Mainly used Sanger sequencing technology
TB ONT workshop – NIMR August 2022
Notes: Links to the HGP - https://www.genome.gov/human-genome-project/What

## Slide 7
Introduction to Sanger sequencing
The DNA sample is divided into four separate reactions, containing all four of the standard deoxynucleotides (dATP, dGTP, dCTP and dTTP) and a DNA polymerase (which attached the dNTPs)
To each reaction is added only one dideoxynucleotides (ddATP, ddGTP, ddCTP, or ddTTP)
Four separate reactions are needed in this process to test all four ddNTPs
The ddNTP stops the DNA polymerase when it comes to a base of that type (e.g. A, T, G, C)
The fragments are then run on a gel. The smallest move through the gel furthest and the ‘ladder’ shows the sequence of the DNA
Centre for Clinical Microbiology
Notes: How does Sanger sequencing work? https://www.thermofisher.com/blog/behindthebench/how-does-sanger-sequencing-work/

## Slide 8
Centre for Clinical Microbiology
Notes: Image credit: https://www.researchgate.net/figure/The-Sanger-sequencing-method-in-7-steps-1-The-dsDNA-fragment-is-denatured-into-two_fig2_234248746

## Slide 9
Centre for Clinical Microbiology
Notes: Link to video: https://www.youtube.com/watch?v=FvHRio1yyhQ&t=171s

## Slide 10
Next Generation Sequencing technology
The Sanger method only sequences a single DNA fragment at a time
NGS is massively parallel, sequencing millions of fragments simultaneously per run
NGS platforms include (but are not limited to):
    Illumina (short read) sequencing
    Oxford Nanopore Technologies (long read) sequencing
TB ONT workshop – NIMR August 2022
Notes: Sanger vs Illumina: https://www.illumina.com/science/technology/next-generation-sequencing/ngs-vs-sanger-sequencing.html

## Slide 11
Introduction to Illumina sequencing
Sequencing by synthesis
‘Short read’ technology – DNA is cut up into 200-600 bp chunks
The DNA is amplified, so there are lots of copies of the chunks
They are denatured, then fluorescent complimentary bases are attached
These fluoresce different colours, which is recorded, and the sequence is identified
Centre for Clinical Microbiology
Notes: How Illumina sequencing works: https://www.yourgenome.org/facts/what-is-the-illumina-method-of-dna-sequencing

## Slide 12
Centre for Clinical Microbiology
Notes: Image credit: https://www.sciencedirect.com/topics/biochemistry-genetics-and-molecular-biology/illumina-dye-sequencing

## Slide 13
Centre for Clinical Microbiology
Notes: Link to video: https://www.youtube.com/watch?v=womKfikWlxM

## Slide 14
Oxford Nanopore Technologies
To enable the analysis of any living thing, by any person, in any environment
Shown to work in -5°C in Antarctica
Kabobo, Democratic Republic of Congo – biodiversity (high humidity, equatorial conditions)
Study of geothermal microbes in Iceland sequenced in a tent using only solar power (entirely ‘off-grid’)
TB ONT workshop – NIMR August 2022
© Farbregas Hareluya/Shutterstock
Mb photography/Getty images
Notes: Image credit: https://www.nature.com/articles/521015a, https://nanoporetech.com/resource-centre/dna-sequencing-microgravity-international-space-station-iss-using-minion

## Slide 15
Introduction to Oxford Nanopore Technologies
‘Long read’ technology
A DNA library is prepared (proteins are added)
Nucleic acids are passed through a protein nanopore
As the different bases move through the nanopore, it creates a different electrical signal
These resulting changes in the electrical signal is decoded to provide the specific DNA or RNA sequence
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing

## Slide 16
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT (image credit) - https://link.springer.com/protocol/10.1007/978-1-0716-0868-5_9

## Slide 17
TB ONT workshop – NIMR August 2022
Notes: Video link: https://www.youtube.com/watch?v=RcP85JHLmnI&t=18s

## Slide 18
Oxford Nanopore Technologies
Different ‘library preparation’ kits and sequencing platforms can be used to sequence different things
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing

## Slide 19
Oxford Nanopore Technologies
MinION
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing
Image credit: ONT

## Slide 20
Oxford Nanopore Technologies
Mk1C
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing
Image credit: ONT

## Slide 21
Oxford Nanopore Technologies
Flongle (technically a specialised flow cell for a MinION)
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing
Image credit: ONT

## Slide 22
Oxford Nanopore Technologies
GridION
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing
Image credit: ONT

## Slide 23
Oxford Nanopore Technologies
PromethION
TB ONT workshop – NIMR August 2022
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing
Image credit: ONT

## Slide 24
Oxford Nanopore Technologies
TB ONT workshop – NIMR August 2022
Device | No. flow cells per run | Throughput | Theoretical maximum output | Cost
Flongle | 1 | 126 channels | 2.8 Gb | From $90 (per flow cell)
MinION | 1 | 512 channels | 50 Gb | From $1,000 (starter pack)
Mk1C | 1 | 512 channels | 50 Gb | From $4,000 (starter pack)
GridION | 5 | 5 x 512 channels | 250 Gb | From $49,000 (starter pack)
PromethION | 24 or 48 | 10,700+ channels | 2,596+ Gb | From $100,455 (starter pack)
Notes: Comparison of platforms: https://nanoporetech.com/products/specifications

## Slide 25
Why is getting so much information so important?
TB ONT workshop – NIMR August 2022

## Slide 26
Depth vs coverage
Depth and coverage are both very important when it comes to sequencing, but they mean different things.
Depth
This is the amount of times a base within a genome has been sequenced
The greater the depth, the greater the confidence in the identity of the sequenced base
In the image below, the complete reference genome is at the top. Below it are the sequenced contigs (a series of overlapping DNA fragments). Three bases are represented, which have varying depth of reads.
TB ONT workshop – NIMR August 2022

## Slide 27
Depth vs coverage
Coverage
The percentage of the whole genome that has been sequenced.
For instance, in the example below, the sequenced contigs cover approximately 80% of the reference genome (at the top of the image), which means you would have sequenced 80% of the bases that make up the genome.
You will not be able to identify genes, SNPs etc. in parts of the genome that you do not have coverage for.
TB ONT workshop – NIMR August 2022
Notes: YouTube video explaining depth v coverage: https://www.youtube.com/watch?v=3oNCSRyHWO8

## Slide 28
Anatomy of a Flow Cell
TB ONT workshop – NIMR August 2022
Notes: Image credit: https://currentprotocols.onlinelibrary.wiley.com/doi/abs/10.1002/cphg.39

## Slide 29
Different kits for ONT
Rapid barcoding kit
Ligation kit
PCR based kits
Automated kit prep
TB ONT workshop – NIMR August 2022
Notes: Voltrax (image credit): https://nanoporetech.com/products/voltrax

## Slide 30
ONT basic workflow
TB ONT workshop – NIMR August 2022
Extract DNA/RNA from the sample
Prepare the sample(s) for sequencing
Run the sequencing!
Convert the ‘squiggles’ to bases – ‘basecalling’
Clean up the fragments
‘Assemble’ the fragments to make a whole genome
Downstream processing e.g. making a phylogenetic tree, identifying genes etc.
Notes: Introduction to ONT - https://nanoporetech.com/applications/dna-nanopore-sequencing

## Slide 31
Minimum computer requirements
Purchase the highest specification you can afford, because sequencing is constantly improving and outputting more and more data!
TB ONT workshop – NIMR August 2022
Component | Required specification
Operating system | Windows – 10, Linux – Ubuntu 20.04 and 18.04, OSX – Mojave, Catalina
Memory/RAM | 16 GB RAM or higher
CPU | Intel i7, i9, Xeon, or better, with at least 4 cores/8 threads Ryzen 5, 7, or better, with at least 4 cores/8 threads
GPU | NVIDIA GPU RTX 2060 SUPER or better, with at least 8 GB of GPU memory
Storage | 1 TB internal SSD or higher
Ports | USB3.0
Notes: ONT Laboratory and IT requirements webpage: https://nanoporetech.com/community/lab-it-requirements

## Slide 32
Any questions?
TB ONT workshop – NIMR August 2022